## Setup Page
Setup for Quantification-Buddy!
There are 2 options, which you need to change in the script:
1)	InternalStandard	Do you want to use Internal Standard for calculations?
2)	CalculateRecovery	Instead of calculating values for samples, just gives you the recovery results

The script will output calibration data, LOD, LOQ and recovery to a file.

	Compound 1		Name:	Captan					Compound 2		Name:	Bromoxynil				Compound 3		Name:	Captan				Compound 4		Name:	Captan				Compound 5		Name:	Captan				Compound 6		Name:	Captan				Compound 7		Name:	Captan				Compound 8		Name:	Captan				Compound 9		Name:	Captan				Compound 10		Name:	Captan				Compound 11		Name:	Captan
	Standards				Samples				Standards				Samples			Standards				Samples			Standards				Samples			Standards				Samples			Standards				Samples			Standards				Samples			Standards				Samples			Standards				Samples			Standards				Samples			Standards				Samples
	Concentration	Signal	IS Concentration	IS Signal	Name	Signal	IS Concentration	IS Signal	Concentration	Signal	IS Concentration	IS Signal	Signal	IS Concentration	IS Signal	Concentration	Signal	IS Concentration	IS Signal	Signal	IS Concentration	IS Signal	Concentration	Signal	IS Concentration	IS Signal	Signal	IS Concentration	IS Signal	Concentration	Signal	IS Concentration	IS Signal	Signal	IS Concentration	IS Signal	Concentration	Signal	IS Concentration	IS Signal	Signal	IS Concentration	IS Signal	Concentration	Signal	IS Concentration	IS Signal	Signal	IS Concentration	IS Signal	Concentration	Signal	IS Concentration	IS Signal	Signal	IS Concentration	IS Signal	Concentration	Signal	IS Concentration	IS Signal	Signal	IS Concentration	IS Signal	Concentration	Signal	IS Concentration	IS Signal	Signal	IS Concentration	IS Signal	Concentration	Signal	IS Concentration	IS Signal	Signal	IS Concentration	IS Signal

## Calibrations
Sample	1Conc	1Signal	1ConcIS	1SignalIS	1Name	2Conc	2Signal	2ConcIS	2SignalIS	2Name
					Captan					Bromoxynil

## Samples
1SConc	1SSignal	1SConcIS	1SSignalIS	1Name	2SignalIS	2SConc	2SSignal	2SConcIS	2SSignalIS	2Name
				Captan						Bromoxynil